|  | Cowra Shire Council Private Bag 342 Cowra NSW 2794 Phone: 02 6340 2040 Fax: 02 6340 2011 council@cowra.nsw.gov.au www.cowracouncil.com.au |
| --- | --- |

Discharge of Liquid Trade Waste Approval Process

To the Manager/Business Owner

Please find attached application forms for the discharge of Liquid Trade Waste to Council’s Sewerage System.

Liquid Trade Waste is liquid waste produced by a business, commercial or industrial activity. It excludes domestic waste from a hand wash basin, shower, bath or toilet.

It is a legal requirement for any business that discharges liquid trade waste to the sewer to have an approval to do so. Even if your business already has some form of pre-treatment device (e.g. grease arrestor or oil separator), it does not mean an approval has been issued.

Council is in the process of inviting all businesses to lodge an application for approval. Please fill in the attached forms as best as possible and submit them to Council.

There is a fee involved with this application, currently $99.00 for new applications, $49.00 for renewal applications. (As per Revenue Policy 2022/2023)

If you need any help to fill in the form or if you have any questions, please call Council’s Infrastructure & Operations Department on (02) 6340 2070.

Forms attached

- Application for Discharge of Liquid Trade Waste Approval

Part C, Section 68 of Local Government Act 1993

- Application for Discharge of Liquid Trade Waste Approval – Form A

Please fill out and return both these forms

|  | Cowra Shire Council Private Bag 342 Cowra NSW 2794 Phone: 02 6340 2040 Fax: 02 6340 2011 council@cowra.nsw.gov.au www.cowracouncil.com.au |
| --- | --- |

Application for Discharge of Liquid Trade Waste Approval

Part C, Section 68 of Local Government Act 1993

The information you provide is personal information for the purposes of the Privacy and Personal Information Protection Act 1998. The supply of the information by you is voluntary. If you cannot provide or do not wish to provide the information sought, your application may be unable to be processed. Please make sure you read the section on substances that must not be discharged to the sewerage system.

- Applicant Details

| Mr Miss Ms Mrs |  | Other: |  |  |
| --- | --- | --- | --- | --- |
| Name |  |  |  |  |
| Postal Address |  |  |  |  |
| Telephone | Fax |  | Mobile | Email |

Applicant(s) signature

- Premises Details

| Business Trading Name |  |  |  |  |
| --- | --- | --- | --- | --- |
| Street/Rural Address No |  | Street/Road Name |  | Suburb or Town |
| Lot No | Section No |  | DP No |  |

- Type of business (contact Council’s Sustainability Officer for clarification )

| Classification A | complete form A | Classification B | complete form BC |
| --- | --- | --- | --- |
| Classification C | complete form BC | Classification S | complete form S |

- Owner of Property

| Mr Miss Ms Mrs |  | Other: |  |  |
| --- | --- | --- | --- | --- |
| Name |  |  |  |  |
| Postal Address |  |  |  |  |
| Telephone | Fax |  | Mobile | Email |
| As owner of the above land, I/we consent to the making of this application and to the entry onto such land by authorised officers of Council for the purpose of determining this application, and any associated inspections. I also understand that as the owner, I may be required to enter into an agreement with Council for the purpose of regulating the proposed trade waste discharge. |  |  |  |  |
| Owner(s) signature |  |  |  |  |

- Licensed Plumbers Details (if applicable)

| Mr Miss Ms Mrs |  | Other: |  |  |
| --- | --- | --- | --- | --- |
| Name |  |  |  |  |
| Licence Number |  |  | Expiry Date |  |
| Telephone | Fax |  | Mobile | Email |

Licensee signature

- Checklist

Please complete this checklist before submitting the application. The checklist will help you provide a complete application. If you answer all the questions and provide all the information as requested, we can process your application more quickly.

| Item | Yes | Not relevant |
| --- | --- | --- |
| Additional forms attached: |  |  |
| - Form A |  |  |
| - Form B |  |  |
| - Form C |  |  |
| - Form S |  |  |
| Has the application been signed by the applicant/s |  |  |
| Has the application been signed by the owner/s |  |  |
| Has the application been signed by the plumber |  |  |
| Have you provided 2 copies of the installation plans |  |  |
| Do the plans include the following details: |  |  |
| - site plan showing associated buildings, relevant external fixtures and drainage lines |  |  |
| - floor plan showing location of all processes, tanks, pits and apparatus associated with the waste |  |  |
| - details of pipes and floor drainage used to convey the effluent |  |  |
| - details of flow measurement devices installed or proposed |  |  |
| - stormwater drainage plan detailing bunding, walls, roofs, fall of ground etc to indicate how stormwater is to be excluded from the trade waste process |  |  |
| - location of sampling pits/points and connection into existing sanitary drainage |  |  |
| - Material Safety Data Sheets (MSDS) for any chemical proposed to be used as part of trade waste process |  |  |
| Details of any proposed treatment apparatus showing: |  |  |
| - manufacturers design plans indicating its size, capacity, dimensions, materials |  |  |
| - operation of associated pits, tanks, dosing system, pH correction and pumps etc |  |  |
| - manufacturers/distributors maintenance & cleaning schedule for the equipment/system |  |  |
| Flow diagram of the trade waste process, which is to include: |  |  |
| - the material and chemical ‘inputs’ into the process |  |  |
| - the material, chemical and waste product ‘outputs’ from the process |  |  |
| - the manner of disposal of all waste products from the process |  |  |

Lodgement Requirements:

- Council will assess the application in accordance with the requirements of Section 68 of the Local Government Act 1993.

- Council may within twenty one (21) days of receipt of the application request an applicant to provide it with more information that is reasonably necessary to enable the proper determination of the application in accordance with Section 86 of the Local Government Act 1993.

- The application must be accompanied by the appropriate fee paid in accordance with Section 80 of the Local Government Act 1993 and Council’s Management Plan.

- Council will acknowledge receipt of valid applications in accordance with Section 84 of the Local Government Act 1993.

- Unclear or illegible applications will be rejected in accordance with Section 85 of the Local Government Act 1993.

- Prohibited substances

The following substances are prohibited from being discharged into the sewerage system. If there is any doubt, please contact Council.

- organochlorine weedicides, fungicides, pesticides, herbicides and substances of a similar nature and/or wastes arising from the preparation of these substances;

- organophosphorus pesticides and/or waste arising from the preparation of these substances

- any substances liable to produce noxious or poisonous vapours in the sewerage system

- organic solvents and mineral oil

- any flammable or explosive substance

- discharges from ‘Bulk Fuel Depots’

- chromate from cooling towers

- natural or synthetic resins, plastic monomers, synthetic adhesives, rubber and plastic emulsions

- rain, surface, seepage or subsoil water, unless specifically permitted

- solid matter

- any substance assessed as not suitable to be discharged into the sewerage system

- waste liquids that contain pollutants at concentrations which inhibit the sewage treatment process – refer Guidelines for Sewerage Systems: Acceptance of Trade Waste (Industrial Waste)(ARMCANZ/ANZECC, 1994)

- any other substances listed in a relevant regulation

Office Use Only

| Application No: | Register: |  |
| --- | --- | --- |
| Information complete: Y N | Fee: |  |
| Receipt: | Date: |  |
| Site inspection conducted: Y N | Date: |  |
| Approval granted: Y N | Date: | Approval No.: |
| Details entered in database: Y N | Date: |  |
| Applicant notified: Y N | Date: |  |

|  | Cowra Shire Council Private Bag 342 Cowra NSW 2794 Phone: 02 6340 2040 Fax: 02 6340 2011 council@cowra.nsw.gov.au www.cowracouncil.com.au |
| --- | --- |

Application for Discharge of Liquid Trade Waste Approval – Form A

This application form is for businesses that intend to discharge certain low risk (‘Concurrence Classification A’) liquid trade wastes to the sewerage system. Please include all details as requested. When finished, return this form to Council, including attachments.

- Business activity

Please indicate the nature of your business. Please refer to the accompanying list ‘Liquid Trade Waste – business activity classifications’. Include more than one activity if appropriate.

| # | Activity | No. of seats/beds (if applicable) |
| --- | --- | --- |

Please indicate if your premise contains the following:

| Item | Yes | No | Number |
| --- | --- | --- | --- |
| Potato peeling appliances |  |  |  |
| Dishwasher/s |  |  |  |

- Normal hours of business

| Day | Start | Finish |
| --- | --- | --- |
| Monday to Friday |  |  |
| Saturday |  |  |
| Sunday |  |  |

- Description of flow

| Maximum rate of discharge to sewer | kL/h or L/s |
| --- | --- |
| Maximum daily discharge to sewer | kL |

Water supply meter

Is the supply of water to this business metered?	Yes		No

If yes, what is the meter number?

- Existing/proposed pre-treatment equipment

| Type | Tick | Size | Flow rate |
| --- | --- | --- | --- |
| 1. Grease arrestor |  |  |  |
| 2. Dry basket arrestor with fixed screens |  |  |  |
| 3. Sink screen/strainer |  |  |  |
| 4. Fixed or removable mesh screen |  |  |  |
| 5. Coalescing plate interceptor or separator |  |  |  |
| 6. Vertical gravity separator |  |  |  |
| 7. Hydrocyclone separation system |  |  |  |
| 8. Cooling pit |  |  |  |
| 9. Balancing, averaging, neutralising pit/tank |  |  |  |
| 10. General purpose pit |  |  |  |
| 11. Solids settlement pit / silt arrestor |  |  |  |
| 12. Baffled settlement pit |  |  |  |
| 13. Lint screen |  |  |  |
| 14. Plaster arrestor |  |  |  |

- Proposed cleaning schedule (if applicable)

- Names of cleaning contractors (if applicable)

- Location of sampling point (if applicable, provide a site plan)

Office Use Only

| Application No: | Information complete: Y N |
| --- | --- |